## Instructions
Pinion Advisory stock water calculation tools
Version 1: October 2024
Purpose of this tool
This tool has been created as part of the Water Use Efficiency project, delivered by Pinion Advisory, in collaboration with the TAS Farm Innovation Hub.
The calculators on the following tabs have been developed to assist livestock producers to calculate what their peak daily stock water demand is and to calculate the financial cost to convert to a reticulated stock water system at an individual farm level.
Please refer to the notes below for more information on how to use.
Blue cells are for data entry by the user.
White cells have been pre-formulated to calculate based on the inputs and cannot be changed by the user.
Calculate each stock water system separately.
Definitions and glossary
A glossary of key terms and acronyms used in the following calculators has been provided on a separate tab.
Worked example and diagram
For further explanation on calculating static head and friction loss in the stock water demand calculator, a worked example has been included on a separate tab.
Stock water demand calculator
This tool is designed to calculate the peak daily stock water demands for your livestock business.
Calculations for peak daily water demand are based on livestock numbers entered into the calculator by the user.
Calculate peak daily stock water demand first (part 1):
1.Under Stock type, use the drop-down menu to select the relevant stock types and associated animal classes for your property, within the area to be serviced by the stock water system. Use one row for each stock type/class.
2. In the Numbers column, enter the peak stock numbers for each animal class. Peak stock numbers refers to the most amount of animals in each stock type/class at any one point in the year.
3. The Rate (Litres per day) and Peak daily demand columns will be automatically calculated based on stock type and animal numbers and will generate the Total litres per day required for your livestock system .
4. Enter the Peak demand period. Note that this is nearly always 4 hours and relates to the time of the day where water demand is highest by stock, generally following rumination.
5. Peak demand flow rate will automatically calculate based on inputs.
Calculate the required pump head (pressure in meters) second (part 2):
1. Enter the Static head elevation. This is the elevation (in metres) from the water level to the highest watering point location (note - this may be the highest trough or a high point along the pipeline).
2. Using the tables supplied and the Peak demand flow rate (calculated in previous steps), calculate the Pipe friction total meters (instructions provided in tool for this step and a worked example provided).
3. For End pressure allow 5-10m (this has been pre filled). This accounts for the pressure of the float valve in the trough to work and seal off correctly. Check the required pressure for your type of float valve.
4. For Sundry losses allow 5m (this has been filled). This allows for suction pressure around pump and fittings.
5. Total pump duty required will automatically calculate based on inputs.
Reticulated system cost calculator
This tool has been designed to calculate the costs associated with converting your stock water system to a reticulated farm water system and has been developed using current prices and costings at the time of creation.
Please note that you may will to consult a supplier/advisor for assistance in identifying the quantity of parts required for your individual system.
1. Enter the parts required in the blue cells
2. Adjust $ cost/part if required
3. The total cost per part and Total cost to install will automatically calculate based on inputs

## Stock water demand calculator
Peak daily water demand calculation, based on stocking levels.
Part 1
| Stock type | Livestock numbers (peak) | Rate (Litres per day) | Peak daily demand
| Dry cattle (up to 500kg) | 0 | 45 | 0
| Dry sheep | 0 | 7 | 0
| Lactating cows | 0 | 70 | 0
| Mature pigs | 0 | 15 | 0
| Working horses | 0 | 70 | 0
| Grazing horses | 0 | 45 | 0
| Dry cattle over 500kg | 0 | 65 | 0
| Lactating Cows | 0 | 70 | 0
| Wash down of concrete (m2) | 0 | 15 | 0
|  |  | Total litres per day | 0 |  |  |  | Tank sizes
|  |  | Peak demand period | 4 | (nearly always 4 hours) | Dry sheep | 7 | 9000
|  |  | Peak demand flow rate | 0 |  | Lactating ewes | 9 | 13600
Part 2
| Calculate required pump head (pressure in metres) : |  |  |  |  | Lambs | 2.5 | 22500
| Static head (elevation in m from water level to highest location of the system) |  | 100 | Metres
| Pipe friction total m (calculated from tables below, based on peak demand flow rate) |  | 23.4 | Metres
| End pressure (pressure for float valve in trough) |  | 10 | Allow 10 metres
| Sundry losses (suction, around pump and fittings) |  | 5 | Allow 5 metres |  | Dry cattle (up to 500kg) | 45 | 31700
| Total pump duty required (Litres/second) | 0 | 138.4
| Or in kilopascal (kPa) | 0 | 1357.704
| Or in pounds per square inch (PSI) | 0 | 200.68 |  |  | Lactating cows | 70 | 45000
[6 empty] | Dry cattle over 500kg | 65 | 63400
[6 empty] | Calves | 25 | 0
[6 empty] | Working horses | 70
[6 empty] | Grazing horses | 45
Instructions for calculating friction loss (using the below tables): | [5 empty] | Lactating sows | 30
1. Look up the peak demand flow rate (calculated in part 1) in litres per second (L/s) in the far left column of the relevant table below (note that Rural Class B 'Greenline' pipe is most commonly used for stock water). | [5 empty] | Mature pigs | 15
2. In the row at the top of the relevant table below, look up the size of pipe you intend to use. | [5 empty] | Wash down of concrete (m2) | 15
3. The value of the cell intersected by the L/s row and pipe size column details the pressure friction loss in metres per 100m of pipe. | [5 empty] | 0 | 0
4. Multiply this value by the length of pipe and then divide by 100 to ger the pipe friction loss.
Worked example (for further detail please see 'Worked example and diagram' tab)
To calculate the friction loss of a 0.6 L/s peak demand flow rate being supplied through 300m of 1" Rural Class B pipe.
1. Using the friction loss table below for Rural Class B pipe, a peak demand flow rate of 0.6 L/s incurs a pressure friction loss of 7.8m per 100m of pipe.
2. To calculate the total pipe friction loss: 7.8 x 300 / 100 = 23.4m
3. Total pipe friction loss for a 300m pipeline = 23.4m
Click here for further detail and a diagram
'Blueline' pipe |  | 'Greeline' pipe

## Reticulated system cost calc
Reticulated stock water upgrade - cost analysis calculator
Prices modelled below have been obtained from a local supplier in July 2024 and are general in nature.
Please consult a supplier/contractor for installation costs.
Parts list | Cost/part ($ ex. GST) | Parts required (quantity) | Total cost/part ($ ex GST)
2" Poly pipe (100m roll) | 423 | 10 | 4230
Joiner (usually 1 joiner per roll required) | 40 | 10 | 400
Tee | 68 | 5 | 340
Elbow | 53 | 5 | 265
Trough (200 litre) | 450 | 0 | 0
Trough (600 litre) | 660 | 5 | 3300
Tank (26,000 litre) | 2500 | 1 | 2500
Pump suitable for most systems | 3500 | 0 | 0
Pressure cell for pump (100litre) | 600 | 0 | 0
Tank level sensor | 500 | 1 | 500
|  | Total cost to install | 11535

## Definitions and glossary
Glossary of key terms and abbreviations
Below is a list of the key terms and acronyms used in this tool along with a brief definition for each.
Glossary of key terms | Glossary of key acronyms and units of measurement

## Worked example and diagram
Worked example: Calculating static head and friction losses
Location | Elevation (AHD), meters (m) above sea level | Distance from water source
Water source | 100m | -
Water tank | 200m | 300m
Trough 1 | 50m | N/A
Trough 2 | 50m | N/A
Calculation
Static head required (m) | elevation at water tank (m) – elevation at water source (m) = static head required (m) | 200m – 100m = 100m
Total pipe friction loss (m) | Pressure friction loss (m) x total length of pipeline (m) / 100 | 7.8 x 300m / 100 = 23.4m
Conclusion:
1. At a peak flow rate of 0.6 L/s, flowing through 300m of 1" pipe there will be a pressure friction loss of 7.8m of head per 100m of pipeline.
2. The total pipe friction loss will be 23.4m of head for 300m of pipeline.
Return to the stock water demand calculator